## Slide 1: Flexibility Model
Grid-Control
Author: Kevin Förderer
https://www.fzi.de/wir-ueber-uns/organisation/mitarbeiter/address/foerdere/
Version: 2017.08.03

## Slide 2: Initial Remarks
In this project we understand flexibility as a collection of possible schedules that a system is willing to offer.
The models presented here are just a method of describing these schedules.
The work on this model and implementation has been started in August 2016.

## Slide 3: Initial Thoughts
Goal: Describing device flexibility as exact as possible for internal communication and optimization
  it is easier to transform data from a detailed model to a more abstract model than vice versa
Usage of intervals rather than discrete levels to reduce communication effort
Flexibility data can be accompanied by linear restrictions for mapping dependencies, optionality and conditions.
  Binary decision variables
  Restrictions are not processed in current implementation

## Slide 4: Model
Model:
  based on:
  A Taxonomy for Modeling Flexibility and a Computationally Efficient Algorithm for Dispatch in Smart Grids“
  by M. K. Petersen, K. Edlund, L. H. Hansen, J. Bendtsen and J. Stoustrup
    A bucket is power and energy constrained integrator (with fixed boundaries)
  Bucket with time dependant interval boundaries
   Generalization
  Additional information

## Slide 5: Internal Model

## Slide 6: Internal Model – Flexibility vs. Task
A flexibility provides the constraints for a task. The task is generated by the BEMS.
A task refers to an actual schedule in terms of power at a given time. Tasks can be derived from flexibilities but don’t need to. Essentially a task is a flexibility with degenerate intervals for power.
Flexibility
Device Schedule
Task
Task
Flexibility
Task
BEMS
User

## Slide 7: Internal Model - Parameters
Flexibility_ID: Integer
Task_ID: Integer
  ID of corresponding task if derived from this flexibility
Adaptable: Boolean
  Whether this task can be adapted during runtime or not (The BEMS keeps track of these)
Termination time: Interval<Timestamp> [Min, Max]
Running time in seconds: Interval<Integer> [Min, Max]
Flexibility Corridors
  Time t in seconds relative to the Starting time, i.e. 0 equals starting time
  Power P: t  P(t) := [MinP(t), MaxP(t)] as Interval<Integer> in W (Step function)
  Energy E: t  E(t) := [MinE(t), MaxE(t)] as Interval<Integer> in Ws (Linear Interpolation)
Discretization: Integer [not implemented]
  Only steps of this size are possible

## Slide 8: Power vs. Energy
Power: Min and max remain constant until a new value is set
   Step function
Energy: Min and max at the given moment in time
  For example at 12:15 Energy.Min = 0 = Energy.Max
  Energy is integral of power  linear interpolation Min(t) und Min(t+1)
Chart: 
| 0.5 | 0.51040666666666668 | 0.51041666666666663 | 0.52082333333333342 | 0.52083333333333337 | 0.53124000000000005 | 0.53125 | 0.54165666666666701 | 0.54166666666666696 | 0.55207333333333308
Leistung [W] | 0 | 0 | 25 | 25 | 50 | 50 | 75 | 75 | 25 | 25
Energie [Wh] | 0 | 0 | 0 | 6.25 | 6.25 | 18.75 | 18.75 | 37.5 | 37.5 | 43.75

## Slide 9: Reading the plots
Combined plot
  Power over time
  Energy over time
15 min slots outlined with points
Example depicted here: fixed profile by setting power.min = power.max and energy.min = energy.max
Chart: 
| 0.5 | 0.51040666666666668 | 0.51041666666666663 | 0.52082333333333342 | 0.52083333333333337 | 0.53124000000000005 | 0.53125 | 0.54165666666666701 | 0.54166666666666696 | 0.55207333333333308 | 0.55208333333333304 | 0.56249000000000005 | 0.5625 | 0.57290666666666601 | 0.57291666666666596 | 0.58332333333333308 | 0.58333333333333304 | 0.59374000000000005 | 0.59375 | 0.60415666666666601 | 0.60416666666666596
Leistung [W] #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0
Energie [Wh] #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 25 | 50 | 50 | 75 | 75 | 75 | 75

## Slide 10: Termination Time
Chart: 
| 0.5 | 0.51040666666666668 | 0.51041666666666663 | 0.52082333333333342 | 0.52083333333333337 | 0.53124000000000005 | 0.53125 | 0.54165666666666701 | 0.54166666666666696 | 0.55207333333333308 | 0.55208333333333304 | 0.56249000000000005 | 0.5625 | 0.57290666666666601 | 0.57291666666666596 | 0.58332333333333308 | 0.58333333333333304 | 0.59374000000000005 | 0.59375 | 0.60415666666666601 | 0.60416666666666596
Leistung [W] #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0
Energie [Wh] #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 25 | 50 | 50 | 75 | 75 | 75 | 75
Leistung [W] #2 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energie [Wh] #2 | 0 | 0 | 0 | 25 | 25 | 50 | 50 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Setting a time until a task has to be finished is more relevant than setting a latest starting time.
earliest
latest

## Slide 11: Running Time
Chart: 
| 0.5 | 0.51040666666666668 | 0.51041666666666663 | 0.52082333333333342 | 0.52083333333333337 | 0.53124000000000005 | 0.53125 | 0.54165666666666701 | 0.54166666666666696 | 0.55207333333333308 | 0.55208333333333304 | 0.56249000000000005 | 0.5625 | 0.57290666666666601 | 0.57291666666666596 | 0.58332333333333308 | 0.58333333333333304 | 0.59374000000000005 | 0.59375 | 0.60415666666666601 | 0.60416666666666596
Leistung [W] #1 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energie [Wh] #1 | 0 | 0 | 0 | 25 | 25 | 50 | 50 | 75 | 75 | 100 | 100 | 125 | 125 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
Leistung [W] #2 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energie [Wh] #2 | 0 | 0 | 0 | 25 | 25 | 50 | 50 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
shortest
longest

## Slide 12: Internal Model - Example
Loading a battery (e.g. an electric vehicle)
  max 150 kW with at least 150 kWh to be charged at 14:30
Chart: 
| 0.5 | 0.51040666666666668 | 0.51041666666666663 | 0.52082333333333342 | 0.52083333333333337 | 0.53124000000000005 | 0.53125 | 0.54165666666666701 | 0.54166666666666696 | 0.55207333333333308 | 0.55208333333333304 | 0.56249000000000005 | 0.5625 | 0.57290666666666601 | 0.57291666666666596 | 0.58332333333333308 | 0.58333333333333304 | 0.59374000000000005 | 0.59375 | 0.60415666666666601 | 0.60416666666666596
Leistung.Min [W] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Leistung.Max [W] | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
Energie.Min [Wh] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 25 | 50 | 50 | 75 | 75 | 100 | 100 | 125 | 125 | 150 | 150
Energie.Max [Wh] | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
Energy Max
Power Min
Energy Min /
Power Min

## Slide 13: Remarks
For flexible running time the corridors are cut off at termination, hence the profile has to be long enough. Like power constraints, energy constraints remain constant after the last given value.
Enumeration of load profiles (e.g. different running modes) possible by using linear constraints
  E.g.: XOR mode #1 and #2 given by x1 and x2 in {0,1} and x1 + x2 = 1
Additional constraints possible
  E.g.: Interruptible flexibility defined as 2 parts (#1 and #2) with x1 + x2 = 2
Not implemented

## Slide 14: ExternAL Model

## Slide 15: Internal vs. External
Internal: Flexibility from different devices is collected. Flexibility model aims for exact mapping.
External: Only an aggregate is shared
  Flexibility is relative to the planned schedule, i.e. selecting 0 is always allowed and equals following the planned schedule without changes
  No termination und running time. It is exactly 1 day (considering daylight savings)
  Only power and energy corridors remain (see internal model for more details)

## Slide 16: Example
Chart: 
| 0.5 | 0.51040666666666668 | 0.51041666666666663 | 0.52082333333333342 | 0.52083333333333337 | 0.53124000000000005 | 0.53125 | 0.54165666666666701 | 0.54166666666666696 | 0.55207333333333308 | 0.55208333333333304 | 0.56249000000000005 | 0.5625 | 0.57290666666666601 | 0.57291666666666596 | 0.58332333333333308 | 0.58333333333333304 | 0.59374000000000005 | 0.59375 | 0.60415666666666601 | 0.60416666666666596
Leistung.Min [W] | -100 | -100 | -100 | -100 | -50 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | -50 | -150 | -150 | -150 | -150 | 0 | 0 | 0
Leistung.Max [W] | 150 | 150 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 200 | 200 | 0 | 0 | 0 | 0 | 100 | 100 | 0
Energie.Min [Wh] | -50 | -50 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | -25 | -50 | -50 | -75 | -75 | -75 | -75
Energie.Max [Wh] | 100 | 75 | 75 | 75 | 75 | 75 | 75 | 125 | 125 | 150 | 150 | 125 | 125 | 100 | 100 | 100 | 100 | 75 | 75 | 75 | 75
Power Max
Power Min
Energy Max
Energy Min

## Slide 17: Example

## Slide 18: Example
Household with battery storage
Battery
BEMS
Flexibily-Management-System
Provides flexibility
Optimization with local target function
Internal
Flexibility

## Slide 19: Example
Internal Flexibility (from 12 to 15 o’clock) of the battery storage
  Capacity 10 kWh (netto) Energy Max = 5 kWh - Energy Min = -5 kWh ____________________ = 10 kWh
  Max 3,2 kW power (symmetrically)
  50% SOC At 12:00 there is space for 5kWh of energy in both directions
Chart: 
| 0.5 | 0.51041666666666663 | 0.52083333333333304 | 0.53125 | 0.54166666666666696 | 0.55208333333333304 | 0.5625 | 0.57291666666666596 | 0.58333333333333304 | 0.59375 | 0.60416666666666596 | 0.61458333333333304 | 0.625
Min. Leistung in kW | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2
Max. Leistung in kW | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2
Min. Energie in kWh | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5
Max. Energie in kWh | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5

## Slide 20: Example
Assumption: BEMS wants to charge battery from 12:00 to 14:00 with 1 kW and then discharge until 15:00 with 2 kW
Chart: 
| 0.5 | 0.51041666666666663 | 0.52083333333333304 | 0.53125 | 0.54166666666666696 | 0.55208333333333304 | 0.5625 | 0.57291666666666596 | 0.58332175925925933 | 0.58333333333333304 | 0.59375 | 0.60416666666666596 | 0.61458333333333304 | 0.625
Min. Leistung in kW | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2
Max. Leistung in kW | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2
Min. Energie in kWh | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5
Max. Energie in kWh | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Batterie-Fahrplan | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -2 | -2 | -2 | -2 | -2
Energy Max
Energy Min
Power Max
Scheduled Task
Power Min

## Slide 21: Example
Household with battery storage
Battery
BEMS
Flexibility-Management-System
Schedules task
Optimization with local target function
Provides flexibility
Internal Flexibility
External Flexibility

## Slide 22: Example
External flexibility by adapting the corridors
Chart: 
| 0.5 | 0.51041666666666663 | 0.52083333333333304 | 0.53125 | 0.54166666666666696 | 0.55208333333333304 | 0.5625 | 0.57291666666666596 | 0.58332175925925933 | 0.58333333333333304 | 0.59375 | 0.60416666666666596 | 0.61458333333333304 | 0.625
Min. Leistung in kW | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2
Max. Leistung in kW | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | -3.2
Min. Energie in kWh | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5 | -5
Max. Energie in kWh | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Batterie-Fahrplan | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -2 | -2 | -2 | -2 | -2
Before
Energy Max
Energy Min
Power Max
Scheduled Task
Power Min

## Slide 23: Example
External flexibility by adapting the corridors
        Corridors are relative to the battery schedule, i.e. scheduling 0 equals the scheduled task.
After
Chart: 
| 0.5 | 0.51041666666666663 | 0.52083333333333304 | 0.53125 | 0.54166666666666696 | 0.55208333333333304 | 0.5625 | 0.57291666666666596 | 0.58332175925925933 | 0.58333333333333304 | 0.59375 | 0.60416666666666596 | 0.61458333333333304 | 0.625
Min. Leistung in kW | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2
Max. Leistung in kW | -4.2 | -4.2 | -4.2 | -4.2 | -4.2 | -4.2 | -4.2 | -4.2 | -4.2 | -1.2 | -1.2 | -1.2 | -1.2 | -1.2
Min. Energie in kWh | -5 | -5.25 | -5.5 | -5.75 | -6 | -6.25 | -6.5 | -6.75 | -7 | -7 | -6.5 | -6 | -5.5 | -5
Max. Energie in kWh | 5 | 4.75 | 4.5 | 4.25 | 4 | 3.75 | 3.5 | 3.25 | 3 | 3 | 3.5 | 4 | 4.5 | 5
Batterie-Fahrplan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Max /
Energy Min
Power Max
Scheduled Task
Power Min

## Slide 24: Final Remarks
The presented model is essentially a simplified battery without losses from efficiency.
   Can be used for any flexibility that is similar to a battery, e.g. thermally controlled devices.
Linear constraints add a lot more complexity but are neccessary to describe flexibilities like combined heat an power plants